Jay Industries, Inc.

Hot Work Quiz and Training Certification

- If an activity produces flames or sparks, it is considered Hot Work.

- True

- False

- Fire Watches are required for Hot Work if combustible materials are closer than ____ to the point of operation.

- 25 feet

- 30 feet

- 35 feet

- 40 feet

- If you have Fire Watch responsibilities, you are to remain at the Hot Work site at least _____ minutes after the work is done.

- 5 minutes

- 10 minutes

- 30 minutes

- 60 minutes

- What type of Fire Extinguisher is required at the Hot Work site while performing Hot Work?

- ABC

- Purple K

- No Fire Extinguisher is required

- Carbon Dioxide

- A Hot Work Permit is required to be completed and posted at the Hot Work site.

- True

- False

- Who signs the Hot Work Permit?

- Plant Manager

- Maintenance Manager or Supervisor

- Operations Supervisor

- EHS

- A Hot Work Permit is good for two months.

- True

- False

- Before welding or cutting closed containers, such as a barrel or pipeline, the welder must insure that the container does NOT contain explosive vapors.

- True

- False

- Confined Space safety rules and permits may also be necessary along with a Hot Work Permit, in certain circumstances.

- True

- False

- Which of the following should also be considered at Hot Work sites?

- Proper use of compressed gas cylindars

- Fall protection

- Eye protection

- Protective clothing

- All of the above

Certification

I certify that I have completed the Hot Work Power Point, read the Hot Work Policy and Procedure, and completed the Hot Work Quiz.  If I have additional questions, I will contact my supervisor, the Maintenance Supervisor, or the EHS Department.

Name_________________________________________ Date____________________

Supervisor______________________________________Date___________________

Plant Name_____________________________________

Quiz Score:_______________________